## Slide 1: Atigun Pass SNOTEL
Photos 10-24-22

## Slide 3
Anemometer Tower
Right Foreground

## Slide 4
Snow Depth
Tower
Anemometer Tower
At Left edge of photo

## Slide 7
Solar Panel
On
Anemometer Tower

## Slide 8
The WHOLE Station
ATGA2
Snow Depth Tower
Closest
Anemometer Tower
Right next to the
Battery & Instrument
Enclosure
View looking to NW
(towards the road)

## Slide 9
View Towards
AAW01

## Slide 10
View Towards
AAW01

## Slide 11
View Towards
AAW01

## Slide 12
View Towards
AAW01

## Slide 13
Tilt Down
Anemometer Tower

## Slide 14
Tilt Down
Anemometer Tower

## Slide 15
Tilt Down
Anemometer Tower

## Slide 16
Tilt Down
Anemometer Tower

## Slide 17
Tilt Down
Anemometer Tower

## Slide 18
Tilt Down
Anemometer Tower

## Slide 19
Tilt Down
Anemometer Tower

## Slide 20
Tilt Down
Anemometer Tower

## Slide 21
View Towards
AAW01

## Slide 22
View Towards
AAW03

## Slide 23
View Towards
AAW04

## Slide 24
GPS at SNOTEL
Depth Tower

## Slide 25
Snow Depth
Old sensor on left
(severe riming downtime)
I have manually derimed it
Hundreds of times over
9 winters
New sensor on right
(Installed summer 2022)
Not 1 single hour of
Downtime due to riming
All winter !!!!!!
I NEVER derimed it

## Slide 26
Except this day, because
I wanted to see
What it was !

## Slide 27
View Towards
AAW01