## Slide 1: N Side Wx Station Design Details for 3 Installations
June 4, 2023
By
Gordon Scott

## Slide 2: Note about terminology used in captions
“Looking ….” means photo is taken with the installation location in the foreground of the picture
“View ….” means the photo is taken from the installation location from a height of approximately 6 feet above ground

## Slide 3
Main Meteorological Station. AAW02
Above the Pipe Crossing
Right next to a raised Alyeska Survey BM. (ATIGUN-1)
Slightly sloping terrain
You can not drive to it, but can drive to several 100’ above it.
Can likely wheel things down there in a 4 wheeled garden cart.
This access is not plowed in the winter, but could be.

## Slide 4
Distances
are from Camp

## Slide 5
AAW02. Met Station, next to Alyeska BM-1 Monument

## Slide 6
Looking South

## Slide 7
Looking W

## Slide 8
Looking N

## Slide 9
Looking E

## Slide 10
View South

## Slide 11
View S

## Slide 12
View W

## Slide 13
View W

## Slide 14
View N

## Slide 15
View E

## Slide 16
View SW
To the
Pass

## Slide 17
West View
To
AAW03
Knoll
AAW03 Location
On Knoll

## Slide 18
West View
Zoomed
To
AAW03
Knoll
Ideal location
For pictures,
But could be hit
By snowblower.
Fatter arrow shows location
For AAW03 Camera Station

## Slide 19
View NE
To Road

## Slide 20
View N
To Road

## Slide 21
View NNE
To Road

## Slide 22
View NE
To
Pipe Xing

## Slide 23
View E
To AAW04
AAW04 may be
A bit to the right
From the arrow
But there is
Visual line of sight
Between them
AAW04 Camera Station
Is on this raised berm
A bit to the right

## Slide 24
Blank slide
Keep going

## Slide 25
Knoll just South of the Double Guardrail
Location for Camera Station AAW03
With 3 cameras:
One looking South at the 200’s Avalanche Zone
One looking north at the Double Guardrail Drifting Area
One Looking Eastward towards the Pipe Crossing
All gear will have to be carried to the site.
The site is relatively flat ground.

## Slide 26
Location
for AAW03
On knoll by
Double Guardrail
There is a stake ”X”
In the ground

## Slide 27
Desired Location
On Knoll
By Double Guardrail
However, I have seen
Snowblower delivered
Ice chunks beyond it.
So probably NOT
A good location to build
There is a stake “A”
In the ground
As of June 4, the Cone is here.
I plan to move it to Pt X.
I may not have a chance
Before going home

## Slide 28
Knoll_Edge_above_Road

## Slide 29
Road Edge
Below Knoll

## Slide 30
Photos from Location “X”,
Location for Camera Station AAW03

## Slide 31
Looking North
Pt “X”
Is the stake in the
Foreground
(The Cone is by Pt “A”)

## Slide 32
Looking East
This is relatively
Flat ground

## Slide 33
Looking South
Atigun Pass Aprox

## Slide 34
Looking West
The 200’s
Avalanche Area
Atigun Pass

## Slide 35
View to West
The 200’s
Avalanche Area

## Slide 36
View East
To the Pipe Crossing
One of these Poles is the
Location for AAW02 Met Station

## Slide 37
View East
Zoomed a bit

## Slide 38
Road View East
Drifting Area

## Slide 39
View NW to
Double Guardrail
Drifting Area

## Slide 40
View NW to
Double Guardrail
Drifting Area

## Slide 41
Blank slide
Keep going !

## Slide 42
Berm on Ridge ESE of the Pipe Crossing
Location for Camera Station AAW04
With 2 cameras:
One looking East at the 300’s Avalanche Zone
One looking north at the North Chainup Area
All gear will have to be traversed to the site from parking at the Pipe Crossing. A garden cart may be useful for the latter ¾ of the trip, not sure.
I do not think I took a Cone there, but there is a Stake “E” at the spot. Possibly a cone ??
The ideal spot is on TOP of the berm (for more camera height)

## Slide 44
Edge of road
Below AAW04
location

## Slide 46
Looking South

## Slide 47
Looking West

## Slide 48
Looking NNE
Valley that the
Dalton Highway
Goes North

## Slide 49
Looking East

## Slide 50
View East
To 300’s
Avalanche Zone

## Slide 51
View East
To 300’s
Avalanche Zone
Zoomed

## Slide 52
View to NE
Zoomed
Drifting Area,
North Chainup

## Slide 53
View to NE

## Slide 54
View to N

## Slide 55
View to W
Location of Met Station
AAW02

## Slide 56
View to West
Zoomed
Location of Met Station
AAW02
Cone is on top of Alyeska BM
So you can see it in this picture

## Slide 57
View to SW
Atigun Pass
Is in this
Direction

## Slide 58
Southbound lane
Below AAW04
location